## Getting started
Needed Files/Programs
1. RiverSurveyorLive (https://www.sontek.com/softwaredetail.php?RiverSurveyor-LIVE-RSL-34)
2. All ADCP files from a given day in one folder (Gleason 1 or Gleason 2 backup hard drive)
3. The most updated matlab script (titled riv_xls.m at https://github.com/ekcomputer/AcousticDoppler)
Instructions
0. Copy all the files for a selected date into a folder onto your own computer/flash drive
1. Open all the files at once from a given day in RiverSurveyorLive. The folder name may be the day AFTER the observations were taken. It is helpful to change this!
2. In RiverSurveyorLive, press 'ctrl' + 's'. This will open the Discharge Summary screen. click on the second icon from the left (paper w/ blue lines) to export a .dis file. Name the file the date of the observations (eg. 20180819.dis). Make sure the .dis is in the same folder as all of the observations from that date. If you get a memory error, you will need to export to .dis file in several chunks. Starting with iv2xls_10.m, you can export multiple .dis fies into the folder and the script will be able to parse them all.
3. Next, look at the top of your screen and click on the hammer and wrench icon which will say 'Show/hide processing tools' when you hover over it with your mouse (shortcut: ctrl + t).
4. A side panel will open on the right-hand side of the screen. Click on the two green arrows, and then click 'Matlab Export All'
5. Open Matlab and the script which you have downloaded from the Google Drive link above.
6. Hit run (green arrow at the top of the Matlab screen). This will prompt you to select a folder where all of the files are located for that date.
7. This will create a QA/QC file in Excel for all the observations from the selected date. Note that this file will be named after the date of of the observation. If the file is from 8/12-8/29/2018, this will likely be incorrect. It would be helpful to change it to the correct date
8. Fill out the excel spreadsheet (instructions on the next tab of this document).
9. All of your files (the excel sheet, the .dis files, the .riv files, the .wsp, and the MATLAB files should be in the same folder. The folder should be named by the date of the observations contained in the folder. Upload this folder to the Google Drive located here: https://drive.google.com/drive/folders/1f3BfzOYrNPKSFTFHOGYwLe7RI0xQ1MEt
10. When finished, check off the date as done in the QC Record spreadsheet: https://docs.google.com/spreadsheets/d/1rqVl3XwZ7ck9XMuiA_h8MqOplaUSSIe5Byjfi4ec_bQ/edit#gid=0
Tips:
1. If your computer cannot open all the files for a given date at once, you can open them a few at a time to complete steps 1-4. The Matlab script should be able to compile them all into one QA/QC spreadsheet
2. If, while filling out the spreasheet, you end up changing the depth reference or track reference. This may change values in other columns (marked in yellow in the next tab of this tutorial). You'll have to manually change the track reference, depth reference, track_ref_invalid, and depth_ref_invalid columns. However for width, area, avg_velocity, average boat velocity, ratio of boat velocity to water velocity, and discharge, you can do the followin! Just re-open all of the files from the date in RiverSurveyorLive (including both the edited and non-edited files), and re-export the .dis file (Step 2 above). Make sure you first rename your old .dis file in the format filename.disx so that Matlab doesn't get confused about which is the good file. You should also rename your old excel file something different, so you don't lose all of your work. Then, you can run the Matlab script again (Steps 6-7), which will create a new Excel file. You can then copy the updated columns (the ones mentioned above) from the new Excel file into your old good excel file.
3. You may find it helpful to use Excel conditional formatting to highlight auto-populated entries that are bad (i.e. HDOP =0) as an aide to the eye.

## The QAQC spreadsheet tutorial
Pre-populated column
Needs user input
May want to update these fields after looking at / changing data in RiverSurveyorLive
Column Name | Column Description | Possible values | What is a bad sign?
File Name | File name. This will be the date/time of the file except for between 8/12/18 and 8/29/2018)
Measurement_type | Type of measurement | Q- discharge B- bathymetry T-test (usually an incomplete measurement) | T
Location | Site ID
Measurement _number | What number observation at each location | First observation at a location is '1', second is '2', etc.
Comments | Notes made in the field when the data is collected. Usually refers to which other instruments were running at the time of the observation
Party | The person(s) operating the ADCP
Boat_motor | The person operating the boat
Date | The date of the observation. Between 8/12/2018 and 8/29/2018, this will be incorrect and will need to be manually fixed in the spreadsheet
Start_time | The start time of the measurement. Starting August 12, there was a firmware glitch that caused file names to be named after a datetime in 2005. Starting with Matlab script v10, this error should hopefully be corrected via an offset.
End_time | The end time of the measurement
Time_zone | The time zone of the start & end times (hard-coded in MATLAB to UTC -6, which is the timezone of the PAD)
Transducer_depth | Depth of the ADCP below the water surface
Mag_declination | Magnetic declination of the location of observation |  | If your bottom track doesn't match your GPS track, you may have input your magnetic dec incorrectly, or with the opposite sign.
Track_ref | Track Reference. Usually bottom track worked best in the PAD. If you need to update this, you can do it by going to the "Smart Page" tab, and clicking on "Systems Settings". Changing this may impact the value of the Track_Ref_Invalid, width, area, velocity, boat velocity, boat_water_ratio, and discharge columns, which you will need to update manually | BT (Bottom Track) GPS-GGA GPS-VTG | Any values of zero in the time series plots.
Start_bank | The start bank of the observation (when you are facing downstream in the river) | Left' or 'Right' | negative values for Q means the banks were entered wrong and the measurement should be discarded!
GPS_quality | The minimum GPS quality value out of all samples in the observation (not the edges). If it is 0, then that degrades our confidence in the measurement. 1 or greater is good. See the "GPS Quality" graph on the "Time Series" tab in RiverSurveyorLive | 5 = RTK float, 4 = RTK fixed, 2 = Differential, 1 = Standard, 0 = Invalid Note: In early QA/QC files, this was a binary, where 0 = Invalid and 1 = valid | 0
HDOP | Horizontal Dilution of Precision for each sample. This is related to the number of satellites. (See the "HDOP" graph on the "Time Series" tab in RiverSurveyorLive). If it is 0, then that degrades our confidence in the measurement | 0 = Any sample in the transect has an HDOP >= 2 1 = All HDOP < 2 | HDOP higher than 2 or fluctuating by more than 1 indicates GPS quality issues
Voltage | The battery voltage of the ADCP during the observation | Ranges from 0-14 | THe system performance is degraded at V <12V
L_edge_dist | Distance from M-9 to the river bank on left edge (facing downstream) | Value is in m
R_edge_dist | Distance from M-9 to the river bank on right edge (facing downstream) | Value is in m
L_edge_Qual | Quality of the left edge measurments. An ideal edge measurment has at least 10 samples with at least 2 cells in depth. See the 'Edges" tab in RiverSurveyorLive | 0 = There are not 10 edge samples or not all of the edge samples are 2 cells deep 1 = There are at least 10 edge samples which have at least 2 cells of depth | 0
R_edge_Qual | Quality of the right edge measurments. An ideal edge measurment has at least 10 samples with at least 2 cells in depth. See the 'Edges' tab in RiverSurveyorLive | 0 = There are not 10 edge samples or not all of the edge samples are 2 cells deep 1 = There are at least 10 edge samples which have at least 2 cells of depth | 0
Edge_notes | Any notes you may have about edge quality. For example, which edge is bad, and how bad is the edge (is it too shallow, were you too close to the edge, were there not enough samples, were there spikes in depth, did the edge drift >5m?) | Qualitative description
Depth_ref_invalid | Refers to the quality of the depth reference. See the "Depth Reference Code" which can be viewed on the "Time Series" tab of RiverSurveyorLive | 0 = Any sample has a depth reference code of 0 1 = All samples in the transect have a depth reference code >=1 | 0
Depth_notes | Any notes about depth quality. For example, where in the observation were there depth reference codes of 0? Did you end up changing the depth reference? | Qualitative description
Depth_reference | The method used for depth reference. If the current depth reference looks messy or is missing samples (see the 'Transect' tab in RiverSurveyorLive'), you can change the depth reference by going to the "Smart Page" tab, and clicking on "Systems Settings". Changing this may impact the value of the Depth_ref_Invalid, width, area, velocity, boat velocity, boat_water_ratio, and discharge columns, which you will need to update manually | BT = Bottom Track VB = Vertical Bottom
Track_ref_invalid | Refers to the quality of the track reference. See the "Track Reference Code" which can be viewed on the "Time Series" tab of RiverSurveyorLive | 0 = Any sample in the transect has a depth reference code of 0 1 = All samples in the transect hace a track ref. code >= 1 | 0
velocity_vector | This is a measure of how good the velocity vectors are. Velocity vectors should be perpendicular to boat motion, should not cross each other, and should not move upstream. See the middle plot on the "Transect" tab of RiverSurveyorLive | 1 = bad 2 = ok 3 = good | 1 is really bad 2 is usually ok/acceptable
velocity_SNR | Tells us whether or not there are beam seperation errors, which can lead to an underestimate of discharge. Check the left middle scroll box in RiverSurveyorLive for red warning stating 9 Consecutive Samples with Beam Seperation | 0 = Red warning stating "9 Consecutive Samples with Beam Seperation" is present 1 = Warning is not present | 0
Width | Channel width. May need to change this manually if Track Reference or depth reference are updated. It is good for the widths for all transects in the same location to be similar | Distance (m) | Vastly different widths for different profiles at the same location
Area | Channel area. May need to change this manually if Track Reference or depth reference are updated. It is good for the areas for all transects in the same location to be similar | Area (m^2) | Vastly different areas for different profiles at the same location
Veloc_avg | Average water velocity. May need to change this manually if track reference or depth reference are updated. It is good for the water velocities for all transects in the same location to be similar | Velocity (m/s) | Vastly different water speeds for different transects in the same location
Boat_veloc_avg | Average boat velocity. May need to change this manually if track reference or depth reference are updated. | Velocity (m/s)
Boat_water_ratio | Ratio of average boat speed to average water speed. May need to change this manually if track reference or depth reference are updated. | Ratio: 1 is best >=2 is not acceptable at all | >=2
Per_measured | The percent of the river actually measured during the observation. This is in contrast to what was interpolated on the edges of the river | Percentage. Higher is better | <65
Keep_or_remove | Do you want to keep or remove the observation? | keep' or 'remove'
Quality | A ranking of how good the observation is. | 1 = Remove 2 = Pretty good, discharge is reasonable but there are 1-2 'bad signs' (use judgment) 2.5 = Everything looks great, but you are using bottom tracking for your track reference, and you have a value of 0 in the "track_ref_invalid" column 3 = Perfect!
Final notes | An explanation of your quality ranking | Qualitative description
Latitude | Average lat. of all the samples
Longitude | Average long. of all the samples
Q | Final discharge | m^3/s