## Sheet1
Filename | Measurement_type | Location | Measurement_number | Comments | Party | Boat_motor | Date | Start_time | End_time | Time_zone | Transducer_depth | Mag_declination | Track_ref | Start_bank | GPS_quality | HDOP | Voltage | L_edge_dist | R_edge_dist | L_edge_Qual | R_edge_Qual | Edge_notes | Depth_ref_invalid | Depth_notes | Depth_reference | Track_ref_invalid | Veloc_vector | Veloc_SNR | Width | Area | Veloc_avg | Boat_veloc_avg | Boat_water_ratio | Per_Measured | Keep_or_remove | Final_notes | Quality | AdditionalField1 | AdditionalField2 | Q | Mat_export
20180809095913 | q | EM_1 | 1 |  | TL WD | RG | 2018-08-09 | 9:59 | 10:01 | -6 | 0.03 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.7 | 1 | 999 | 0 | 1 | R edge 30m drift, L edge no cells | 1 | changed to BT bc one spike | BT | 1 | 2 | 1 | 1011.53 | 2334.3303 | 0.091 | 0.612 | 6.7253 | 14.3 | 1 | edge drift, bad veloc | 1 |  | 12 | 208.7635 | x
20180809100112 | q | EM_1 | 2 |  | TL WD | RG | 2018-08-09 | 10:01 | 10:04 | -6 | 0.03 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.8 | 1 | 1 | 1 | 0 | R edge two samples w 0 cells | 1 |  | VB | 1 | 3 | 0 | 146.646 | 460.9615 | 0.431 | 0.755 | 1.7517 | 77.8 | 1 | beam sep, depth invalid, bad edge | 1 |  | 12 | 198.507 | x
20180809100432 | q | EM_1 | 3 |  | TL WD | RG | 2018-08-09 | 10:05 | 10:06 | -6 | 0.03 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.8 | 1 | 1 | 0 | 0 | R edge 1 cell, L edge , 5 samples | 0 | changed to BT bc one spike | BT | 1 | 2 | 0 | 21.75 | 32.5442 | 0.073 | 0.199 | 2.726 | 78.2 | 0 | beam sep, bad gps qual, bad edge qual. Don't know why q is so low. | 1 |  | 7 | 2.6226 | x
20180809100634 | q | EM_1 | 4 |  | TL WD | RG | 2018-08-09 | 10:07 | 10:10 | -6 | 0.03 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.7 | 20 | 1 | 1 | 1 | L edge has spike, so changed to BT. | 1 | changed to BT bc one spike | BT | 1 | 3 | 1 | 146.26 | 459.3523 | 0.426 | 0.7 | 1.6432 | 76.6 | 1 | Best one- bc no ramming shore | 3 |  | 14 | 194.836 | x
20180809101207 | te | EM_2 | 1 |  | TL WD | RG | 2018-08-09 | 10:12 | 10:15 | -6 | 12.5 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.6 | 999 | 999 | 0 | 0 |  |  |  | VB |  |  |  | 2302.903 | 22924.1914 | -0.049 | 2.036 | -41.551 | 3.4 | 0 |  |  |  | 2 | -1123.473 | x
20180809101439 | q | EM_2 | 2 |  | TL WD | RG | 2018-08-09 | 10:15 | 10:17 | -6 | 12.5 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.6 | 15 | 25 | 1 | 1 | L edge drifted 4m | 1 |  | VB | 1 | 3 | 1 | 140.921 | 1960.1582 | 0.57 | 0.673 | 1.1807 | 14.7 | 0 | one edge drift; only 14% measured; width is too wide | 2 |  | 14 | 1117.6969 | x
20180809101724 | q | EM_2 | 3 |  | TL WD | RG | 2018-08-09 | 10:17 | 10:20 | -6 | 12.5 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.3 | 25 | 12.5 | 1 | 1 | edge drift R 10m | 1 | VB missing some samples, but doesn't affect Q | VB | 1 | 2 | 0 | 115.864 | 1924.001 | 0.46 | 0.498 | 1.0826 | 15.6 | 0 | bad veloc snr, edge drift; only 15 % measured, wdith too wide | 1 |  | 12 | 884.5094 | x
20180809102205 | q | EM_2 | 4 |  | TL WD | RG | 2018-08-09 | 10:22 | 10:24 | -6 | 0.08 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.5 | 8 | 1 | 1 | 1 | R edge drift 5m | 1 | changed to BT bc one spikes. | VB | 1 | 2 | 1 | 91.773 | 446.0803 | 0.568 | 0.726 | 1.2782 | 62.7 | 1 | R edge drift, bad veloc snr | 1 |  | 13 | 214.8124 | x
20180809102410 | q | EM_2 | 5 |  | TL WD | RG | 2018-08-09 | 10:24 | 10:26 | -6 | 0.08 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.5 | 1 | 8 | 0 | 1 | L edge 5m drift | 0 | changed to BT bc lmany spikes. Depth ref still invalid though and still one depth spike | VB | 1 | 2 | 0 | 61.253 | 444.6145 | 0.287 | 0.656 | 2.2857 | 55.7 | 0 | Depth spike, SNR, left edge, boat too fast | 1 |  | 8 | 104.7729 | x
20180809102644 | q | EM_2 | 6 |  | TL WD | RG | 2018-08-09 | 10:27 | 10:29 | -6 | 0.08 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.4 | 1 | 9 | 1 | 0 | R edge has 0 cells in 1st sample | 1 | changed to BT bc R edge spikes | VB | 1 | 3 | 1 | 93.429 | 426.757 | 0.439 | 0.659 | 1.5011 | 73.5 | 1 | Bad R edge | 2 |  | 13 | 186.288 | x
20180809103036 | te | EM_3 | 1 |  | TL WD | RG | 2018-08-09 | 10:31 | 10:33 | -6 | 0.08 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.5 | 999 | 999 | 1 | 0 |  |  |  | VB |  |  |  | 2333.604 | 4113.6836 | -0.024 | 2.261 | -94.2083 | 10.4 | 0 |  |  |  | 3 | -100.3522 | x
20180809103319 | q | EM_3 | 2 |  | TL WD | RG | 2018-08-09 | 10:33 | 10:36 | -6 | 0.08 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.5 | 13 | 2 | 1 | 1 | L edge drift 12m | 1 |  | VB | 1 | 2 | 1 | 97.448 | 402.7016 | 0.458 | 0.515 | 1.1245 | 74.9 | 1 | L edge drift and some non uniform veloc | 2 |  | 13 | 184.5808 | x
20180809103606 | q | EM_3 | 3 |  | TL WD | RG | 2018-08-09 | 10:36 | 10:39 | -6 | 0.08 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.5 | 2 | 11.5 | 1 | 1 | L edge 4m drift | 1 |  | VB | 1 | 2 | 1 | 110.334 | 399.8413 | 0.478 | 0.598 | 1.251 | 74 | 1 | L edge drift; veloc not perfect | 2 |  | 13 | 191.0302 | x
20180809104338 | q | EM_5 | 1 |  | TL WD | RG | 2018-08-09 | 10:44 | 10:46 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.4 | 8.6 | 2 | 1 | 1 | L edge 4m drift | 1 |  | VB | 1 | 3 | 1 | 117.553 | 453.9236 | 0.441 | 0.7 | 1.5873 | 78 | 1 | L edge drift | 2 |  | 14 | 200.3909 | x
20180809104623 | q | EM_5 | 2 |  | TL WD | RG | 2018-08-09 | 10:46 | 10:49 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.2 | 2 | 14 | 1 | 1 |  | 1 |  | VB | 1 | 2 | 1 | 118.658 | 453.6611 | 0.42 | 0.589 | 1.4024 | 76.5 | 1 | a little curvy at R edge | 2 |  | 13 | 190.4954 | x
20180809105021 | q | EM_5 | 3 |  | TL WD | RG | 2018-08-09 | 10:50 | 10:54 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.4 | 14 | 999 | 1 | 0 | 60m L; 10m R | 1 | 1 | VB | 1 | 2 | 0 | 1494.288 | 2450.9839 | -0.054 | 2.069 | -38.3148 | 55.3 | 0 | L half has 0 or neg velocity | 1 |  | 11 | -137.7845 | x
20180809105433 | q | EM_6 | 1 |  | TL WD | RG | 2018-08-09 | 10:55 | 10:57 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.4 | 8.7 | 9.8 | 1 | 1 |  | 1 |  | VB | 1 | 2 | 1 | 119.711 | 466.4721 | 0.467 | 0.738 | 1.5803 | 72.6 | 1 | veloc not perfect | 3 |  | 13 | 217.9298 | x
20180809105655 | q | EM_6 | 2 |  | TL WD | RG | 2018-08-09 | 10:57 | 11:00 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.3 | 9.8 | 15.8 | 1 | 1 |  | 1 |  | VB | 1 | 2 | 1 | 129.921 | 491.7255 | 0.431 | 0.649 | 1.5058 | 71.2 | 1 | veloc not perfect | 3 |  | 13 | 211.8847 | x
20180809110323 | q | EM_7 | 1 |  | TL WD | RG | 2018-08-09 | 11:03 | 11:05 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.3 | 8.8 | 12.6 | 1 | 1 |  | 1 |  | VB | 1 | 2 | 1 | 97.066 | 469.0819 | 0.465 | 0.681 | 1.4645 | 70.3 | 1 | veloc not perfect | 3 |  | 13 | 218.3197 | x
20180809110521 | q | EM_7 | 2 |  | TL WD | RG | 2018-08-09 | 11:05 | 11:08 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.2 | 12.6 | 6.8 | 1 | 1 |  | 1 |  | VB | 1 | 2 | 1 | 103.826 | 470.6718 | 0.443 | 0.662 | 1.4944 | 72.3 | 1 | veloc not perfect | 3 |  | 13 | 208.6278 | x
20180809111251 | q | EM_8 | 1 |  | TL WD | RG | 2018-08-09 | 11:13 | 11:15 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.3 | 7 | 12.8 | 1 | 1 |  | 1 |  | VB | 1 | 2 | 1 | 120.326 | 454.2614 | 0.473 | 0.701 | 1.482 | 71.2 | 1 | veloc not perfect | 3 |  | 13 | 214.8709 | x
20180809111517 | q | EM_8 | 2 |  | TL WD | RG | 2018-08-09 | 11:15 | 11:18 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14 | 12.8 | 7 | 1 | 1 |  | 1 |  | VB | 1 | 3 | 1 | 120.385 | 449.0609 | 0.453 | 0.717 | 1.5828 | 72.8 | 1 |  | 3 |  | 14 | 203.4368 | x
20180809112205 | q | EM_9 | 1 |  | TL WD | RG | 2018-08-09 | 11:22 | 11:24 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 16 | 5.8 | 1 | 1 | 1 | L edge 10m | 1 |  | BT | 1 | 2 | 1 | 93.316 | 438.1088 | 0.495 | 0.67 | 1.3535 | 75.4 | 1 | veloc not perfect | 2 |  | 13 | 216.9049 | x
20180809112426 | q | EM_9 | 2 |  | TL WD | RG | 2018-08-09 | 11:24 | 11:27 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 15.9 | 1 | 6.8 | 1 | 1 |  | 1 |  | BT | 1 | 1 | 1 | 86.607 | 430.5234 | 0.477 | 0.621 | 1.3019 | 74 | 1 | veloc not perfect | 2 |  | 12 | 205.1534 | x
20180809113027 | q | EM_10 | 1 |  | TL WD | RG | 2018-08-09 | 11:30 | 11:32 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 15.7 | 6.8 | 4.9 | 1 | 1 |  | 1 |  | BT | 1 | 2 | 1 | 84.202 | 444.0276 | 0.48 | 0.636 | 1.325 | 74 | 1 | veloc not perfect | 2 |  | 13 | 213.1969 | x
20180809113225 | q | EM_10 | 2 |  | TL WD | RG | 2018-08-09 | 11:32 | 11:37 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 15.5 | 4.9 | 4.9 | 1 | 1 |  | 1 |  | BT | 1 | 2 | 1 | 86.661 | 437.4344 | 0.471 | 0.295 | 0.62633 | 75.7 | 1 | veloc not perfect | 2 |  | 13 | 205.9928 | x
20180809114238 | te | EM_11 | 1 |  | TL WD | RG | 2018-08-09 | 11:43 | 11:43 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 15.5 | 4 | 999 | 1 | 0 |  |  |  | BT |  |  |  | 1005.03 | 974.4611 | 0.073 | 0.062 | 0.84932 | 0.2 | 0 |  |  |  | 3 | 70.8138 | x
20180809114314 | q | EM_11 | 2 |  | TL WD | RG | 2018-08-09 | 11:43 | 11:46 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 15.4 | 4 | 9.8 | 1 | 1 | 5m drift L edge | 1 |  | BT | 1 | 3 | 1 | 114.077 | 445.5655 | 0.483 | 0.59 | 1.2215 | 73.2 | 1 | L edge drift | 2 | tryt using bottom track, not gps for this site | 14 | 215.2499 | x
20180809114612 | q | EM_11 | 3 |  | TL WD | RG | 2018-08-09 | 11:46 | 11:49 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 15.4 | 9.8 | 8.8 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 122.876 | 460.5536 | 0.467 | 0.671 | 1.4368 | 74.4 | 1 |  | 3 |  | 14 | 214.8668 | x
20180809123628 | q | EM_12 | 1 |  | TL WD | RG | 2018-08-09 | 12:36 | 12:38 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 15.1 | 12 | 9.8 | 1 | 1 |  | 1 |  | BT | 0 | 3 | 1 | 94.69 | 442.5539 | 0.542 | 0.636 | 1.1734 | 69.7 | 1 | changed track ref to BT, and discharges were within 5% | 2 |  | 11 | 216.0898 | x
20180809123831 | q | EM_12 | 2 |  | TL WD | RG | 2018-08-09 | 12:39 | 12:40 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 15.1 | 9.8 | 7.9 | 1 | 1 |  | 1 | CHANGED TO VB | VB | 0 | 3 | 1 | 95.217 | 442.8555 | 0.485 | 0.675 | 1.3918 | 69.9 | 1 | changed track ref to BT, and discharges were within 5% | 2 |  | 11 | 204.2017 | x
20180809124048 | q | EM_12 | 3 |  | TL WD | RG | 2018-08-09 | 12:41 | 12:43 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 15.1 | 6 | 13 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 92.959 | 441.8025 | 0.539 | 0.582 | 1.0798 | 70 | 1 | changed track ref to BT, and discharges were within 5% | 3 |  | 14 | 211.6548 | x
20180809124308 | q | EM_12 | 4 |  | TL WD | RG | 2018-08-09 | 12:43 | 12:45 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.8 | 13 | 6 | 1 | 1 |  | 1 |  | BT | 0 | 2 | 1 | 99.203 | 440.8022 | 0.487 | 0.67 | 1.3758 | 69.7 | 1 | changed track ref to BT, and discharges were within 5%; veloc not perfect; width larger than other replicates | 1 |  | 10 | 204.2804 | x
20180809124904 | q | EM_12 | 5 |  | TL WD | RG | 2018-08-09 | 12:49 | 12:51 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.8 | 8 | 8 | 1 | 1 |  | 1 |  | BT | 0 | 3 | 1 | 90.476 | 418.7147 | 0.568 | 0.65 | 1.1444 | 73.1 | 1 | changed track ref to BT, and discharges were within 5% | 2 |  | 11 | 209.0335 | x
20180809125110 | q | EM_12 | 6 |  | TL WD | RG | 2018-08-09 | 12:51 | 12:53 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 15 | 8 | 14 | 1 | 1 |  | 1 |  | BT | 0 | 3 | 1 | 94.523 | 427.3316 | 0.51 | 0.64 | 1.2549 | 71.5 | 1 | changed track ref to BT, and discharges were within 5% | 2 |  | 11 | 209.8071 | x
20180809125727 | q | EM_14 | 1 |  | TL WD | RG | 2018-08-09 | 12:57 | 13:00 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.9 | 8 | 1 | 1 | 1 | 1 |  |  | BT | 1 | 3 | 1 | 92.712 | 432.5267 | 0.5 | 0.611 | 1.222 | 73.8 | 1 |  | 3 |  | 11 | 216.3406 | x
20180809125953 | q | EM_14 | 2 |  | TL WD | RG | 2018-08-09 | 13:00 | 13:02 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.9 | 1 | 11 | 1 | 1 | 1 | 1 |  | BT | 1 | 3 | 1 | 94.899 | 445.5244 | 0.526 | 0.617 | 1.173 | 70.8 | 1 |  | 3 |  | 14 | 234.4069 | x
20180809130644 | q | EM_15 | 1 |  | TL WD | RG | 2018-08-09 | 13:07 | 13:09 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.9 | 4 | 13 | 1 | 1 | both edges >4m drift | 1 |  | BT | 0 | 3 | 1 | 103.655 | 436.9233 | 0.474 | 0.733 | 1.5464 | 72.6 | 1 | changed track ref to BT to avoid large spread in Q values; edges drift5, boat speed fast | 2 |  | 11 | 203.3915 | x
20180809130944 | q | EM_15 | 2 |  | TL WD | RG | 2018-08-09 | 13:10 | 13:12 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.8 | 13 | 7 | 1 | 1 | R edge 20m drift` | 1 | ` | BT | 1 | 3 | 1 | 82.707 | 430.7612 | 0.407 | 0.51 | 1.2531 | 69.3 | 0 | changed track ref to BT to avoid large spread in Q values; big edge drift | 1 |  | 14 | 156.9979 | x
20180809131206 | q | EM_15 | 3 |  | TL WD | RG | 2018-08-09 | 13:12 | 13:15 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 0 | 1 | 14.8 | 6 | 8 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 104.472 | 441.8616 | 0.476 | 0.671 | 1.4097 | 73.1 | 1 | changed track ref to BT to avoid large spread in Q values; bad GPS quality | 2 |  | 13 | 206.1655 | x
20180809131436 | q | EM_15 | 4 |  | TL WD | RG | 2018-08-09 | 13:15 | 13:17 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.8 | 8 | 5 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 102.678 | 447.3256 | 0.536 | 0.714 | 1.3321 | 71.8 | 1 | changed track ref to BT to avoid large spread in Q values; changed track ref to BT to avoid large spread in Q values | 3 |  | 14 | 209.7812 | x
20180809131813 | q | EM_15 | 5 |  | TL WD | RG | 2018-08-09 | 13:18 | 13:20 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.6 | 12 | 10 | 1 | 1 |  | 1 |  | BT | 0 | 3 | 1 | 101.203 | 424.5607 | 0.483 | 0.67 | 1.3872 | 69.9 | 1 | changed track ref to BT to avoid large spread in Q values | 3 |  | 11 | 196.8225 | x
20180809132657 | q | EM_16 | 1 |  | TL WD | RG | 2018-08-09 | 13:27 | 13:29 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.8 | 7.8 | 8.8 | 1 | 1 | L edge 5m drift | 1 |  | BT | 1 | 3 | 1 | 97.433 | 435.5189 | 0.515 | 0.725 | 1.4078 | 71 | 1 | edge drifyt | 2 |  | 14 | 224.3789 | x
20180809132857 | q | EM_16 | 2 |  | TL WD | RG | 2018-08-09 | 13:29 | 13:31 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.8 | 8.8 | 11.8 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 103.321 | 425.0181 | 0.522 | 0.623 | 1.1935 | 70.6 | 1 |  | 3 |  | 14 | 221.9234 | x
20180809133543 | q | EM_17 | 1 | drones overhead | TL WD | RG | 2018-08-09 | 13:36 | 13:38 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.8 | 7 | 1 | 1 | 1 | L edge 5m drift | 1 |  | BT | 1 | 3 | 1 | 92.721 | 428.0529 | 0.478 | 0.671 | 1.4038 | 75 | 1 | edge drifyt | 2 |  | 14 | 204.5531 | x
20180809133802 | q | EM_17 | 2 | drones overhead | TL WD | RG | 2018-08-09 | 13:38 | 13:41 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.8 | 1 | 8 | 1 | 1 | 1 | 1 |  | BT | 1 | 3 | 1 | 95.252 | 425.5432 | 0.512 | 0.589 | 1.1504 | 73.9 | 1 |  | 3 |  | 14 | 218.085 | x
20180809134519 | q | EM_18 | 1 | drones overhead | TL WD | RG | 2018-08-09 | 13:45 | 13:48 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.7 | 1 | 7 | 0 | 1 | L edge not enough cells | 1 |  | BT | 1 | 3 | 1 | 90.934 | 427.1735 | 0.455 | 0.517 | 1.1363 | 73.1 | 0 | L edge bad | 1 |  | 13 | 194.4734 | x
20180809134810 | q | EM_18 | 2 | drones overhead | TL WD | RG | 2018-08-09 | 13:48 | 13:51 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.7 | 7 | 1 | 1 | 1 |  | 1 |  | BT | 1 | 2 | 1 | 93.009 | 436.3872 | 0.498 | 0.479 | 0.96185 | 73.5 | 1 | veloc not perfect | 2 |  | 13 | 217.266 | x
20180809140125 | q | EM_19 | 1 |  | TL WD | RG | 2018-08-09 | 14:01 | 14:04 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.7 | 1 | 3 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 92.867 | 426.3436 | 0.454 | 0.591 | 1.3018 | 72.6 | 1 |  | 3 |  | 14 | 193.7628 | x
20180809140403 | q | EM_19 | 2 |  | TL WD | RG | 2018-08-09 | 14:04 | 14:07 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.5 | 3 | 5 | 0 | 1 | L edge 6m drift | 1 |  | BT | 1 | 3 | 1 | 96.021 | 432.7374 | 0.523 | 0.542 | 1.0363 | 73.5 | 0 | L edge bad | 2 |  | 13 | 226.3071 | x
20180809140738 | q | EM_19 | 3 |  | TL WD | RG | 2018-08-09 | 14:08 | 14:10 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.6 | 1 | 8 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 97.832 | 429.1828 | 0.459 | 0.57 | 1.2418 | 73.1 | 1 |  | 3 |  | 14 | 196.9892 | x
20180809141022 | q | EM_19 | 4 |  | TL WD | RG | 2018-08-09 | 14:10 | 14:11 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.6 | 8 | 1 | 0 | 1 |  |  |  | BT |  |  |  | 9.256 | 4.9437 | -0.08 | 0.012 | -0.15 | 3.2 | 0 |  |  |  | 3 | -0.39538 | x
20180809141208 | te | EM_19 | 5 |  | TL WD | RG | 2018-08-09 | 14:12 | 14:12 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.6 | 8 | 999 | 0 | 1 |  |  |  | BT |  |  |  | 1007.036 | 426.0547 | -0.122 | 0.003 | -0.02459 | 0 | 0 |  |  |  | 3 | -51.9439 | x
20180809141245 | q | EM_19 | 6 |  | TL WD | RG | 2018-08-09 | 14:13 | 14:15 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.5 | 8 | 7 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 99.087 | 440.9508 | 0.498 | 0.613 | 1.2309 | 72.8 | 1 |  | 3 |  | 14 | 219.657 | x
20180809141922 | q | EM_27 | 1 |  | TL WD | RG | 2018-08-09 | 14:19 | 14:21 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.4 | 1 | 1 | 1 | 0 | R edge not enough cells | 1 |  | BT | 1 | 2 | 1 | 81.329 | 552.1981 | 0.46 | 0.7 | 1.5217 | 74.5 | 0 | R edge badf | 1 |  | 12 | 253.9308 | x
20180809142035 | q | EM_20 | 1 |  | TL WD | RG | 2018-08-09 | 14:21 | 14:23 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.6 | 1 | 8 | 0 | 1 | L edge one reading with 0 cells | 1 |  | BT | 1 | 2 | 1 | 104.379 | 428.0935 | 0.509 | 0.612 | 1.2024 | 72.7 | 1 | veloc not perfect, and missing cells in one reading | 2 |  | 12 | 217.7673 | x
20180809142126 | q | EM_27 | 2 |  | TL WD | RG | 2018-08-09 | 14:21 | 14:23 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.4 | 1 | 1 | 1 | 0 | R edge not enough cells | 1 |  | BT | 1 | 2 | 1 | 80.68 | 544.71 | 0.489 | 0.672 | 1.3742 | 73.8 | 0 | R edge badf | 1 |  | 12 | 266.2025 | x
20180809142330 | q | EM_20 | 2 |  | TL WD | RG | 2018-08-09 | 14:24 | 14:26 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.6 | 8 | 1 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 104.386 | 419.4959 | 0.538 | 0.669 | 1.2435 | 74.4 | 1 |  | 3 |  | 14 | 225.7721 | x
20180809142849 | q | FL_1 | 1 |  | TL WD | RG | 2018-08-09 | 14:29 | 14:31 | -6 | 0.15 | 14.1 | BT | Left | 1 | 1 | 14.3 | 1 | 1 | 1 | 1 |  | 1 | changed to VB bc dropout | VB | 0 | 2 | 1 | 49.908 | 218.599 | 0.654 | 0.481 | 0.73547 | 73.1 | 1 | changed track ref to BT, and discharges were within 2%; veloc not perfect | 2 |  | 10 | 116.665 | x
20180809143040 | q | FL_1 | 2 |  | TL WD | RG | 2018-08-09 | 14:31 | 14:32 | -6 | 0.15 | 14.1 | BT | Right | 1 | 1 | 14.3 | 1 | 1 | 1 | 1 |  | 1 | changed to VB bc dropout | VB | 0 | 2 | 1 | 49.089 | 205.0127 | 0.6 | 0.476 | 0.79333 | 72 | 1 | changed track ref to BT, and discharges were within 2%; veloc not perfect | 2 |  | 10 | 114.1526 | x
20180809143106 | q | EM_21 | 1 |  | TL WD | RG | 2018-08-09 | 14:31 | 14:33 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.6 | 5 | 6 | 1 | 1 | L edge drift 6m | 1 |  | BT | 1 | 2 | 1 | 100.329 | 426.8426 | 0.536 | 0.68 | 1.2687 | 73.1 | 1 | veloc not perfect; edge drift | 2 |  | 13 | 228.9387 | x
20180809143249 | q | FL_1 | 1 |  | TL WD | RG | 2018-08-09 | 14:33 | 14:35 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.3 | 1 | 1 | 1 | 1 |  | 1 |  | BT | 1 | 2 | 1 | 49.374 | 212.5557 | 0.635 | 0.454 | 0.71496 | 73.1 | 1 | veloc not perfect; edge drift | 2 |  | 13 | 134.9785 | x
20180809143328 | q | EM_21 | 2 |  | TL WD | RG | 2018-08-09 | 14:33 | 14:36 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.6 | 6 | 8 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 101.068 | 424.3445 | 0.539 | 0.65 | 1.2059 | 72 | 1 |  | 3 |  | 14 | 228.7745 | x
20180809143447 | q | FL_1 | 2 |  | TL WD | RG | 2018-08-09 | 14:35 | 14:36 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.3 | 1 | 1 | 1 | 1 |  | 1 |  | BT | 1 | 2 | 1 | 50.158 | 210.3351 | 0.562 | 0.521 | 0.92705 | 72.7 | 1 | veloc not perfect; edge drift | 2 |  | 13 | 118.2269 | x
20180809144013 | q | EM_22 | 1 |  | TL WD | RG | 2018-08-09 | 14:40 | 14:42 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.6 | 5.5 | 1 | 1 | 0 | R edge no cells | 1 |  | BT | 1 | 2 | 1 | 92.043 | 426.4798 | 0.547 | 0.717 | 1.3108 | 73.6 | 0 | R edge no cells | 1 |  | 12 | 233.4744 | x
20180809144219 | q | EM_22 | 2 |  | TL WD | RG | 2018-08-09 | 14:42 | 14:45 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.3 | 1 | 7 | 1 | 0 | R edge mosrtly no cells | 1 |  | BT | 1 | 2 | 1 | 89.63 | 433.3351 | 0.507 | 0.569 | 1.1223 | 75.4 | 0 | R edge mosrtly no cells | 1 |  | 12 | 219.7745 | x
20180809145101 | q | EM_23 | 1 |  | TL WD | RG | 2018-08-09 | 14:51 | 14:54 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.5 | 1 | 1 | 1 | 1 |  | 1 |  | BT | 1 | 2 | 1 | 104.866 | 429.5157 | 0.575 | 0.703 | 1.2226 | 74.8 | 1 | veloc not perfect; edge drift | 2 |  | 13 | 246.7719 | x
20180809145335 | q | EM_23 | 2 |  | TL WD | RG | 2018-08-09 | 14:54 | 14:56 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.5 | 1 | 1 | 1 | 1 |  | 1 |  | BT | 1 | 2 | 1 | 104.662 | 427.6187 | 0.573 | 0.632 | 1.103 | 73.8 | 1 | veloc not perfect; edge drift |  |  | 13 | 244.821 | x
20180809150038 | q | EM_24 | 1 |  | TL WD | RG | 2018-08-09 | 15:01 | 15:03 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.5 | 1 | 3 | 0 | 0 | both edges no cells | 1 |  | BT | 1 | 2 | 1 | 104.785 | 396.3824 | 0.61 | 0.702 | 1.1508 | 73.4 | 1 | both edges no cells | 1 |  | 11 | 241.9798 | x
20180809150309 | q | EM_24 | 2 |  | TL WD | RG | 2018-08-09 | 15:03 | 15:06 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.5 | 3 | 2 | 1 | 0 | R edge no cells | 1 |  | BT | 1 | 2 | 1 | 104.434 | 397.8999 | 0.618 | 0.649 | 1.0502 | 74.2 | 1 | R edge no cells | 1 |  | 12 | 245.8814 | x
20180809151121 | q | EM_25 | 1 |  | TL WD | RG | 2018-08-09 | 15:11 | 15:14 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.4 | 6 | 1 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 110.937 | 413.5846 | 0.595 | 0.72 | 1.2101 | 77.5 | 1 | boat speed a little fast | 2 |  | 14 | 246.1084 | x
20180809151352 | q | EM_25 | 2 |  | TL WD | RG | 2018-08-09 | 15:14 | 15:16 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.4 | 1 | 8 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 116.334 | 410.6898 | 0.56 | 0.76 | 1.3571 | 76.2 | 1 |  | 3 |  | 14 | 229.9108 | x
20180809152054 | q | EM_26 | 1 |  | TL WD | RG | 2018-08-09 | 15:21 | 15:23 | -6 | 0.15 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.2 | 1 | 13 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 93.225 | 394.4911 | 0.648 | 0.597 | 0.9213 | 70.3 | 1 |  | 3 |  | 14 | 255.5882 | x
20180809152317 | q | EM_26 | 2 |  | TL WD | RG | 2018-08-09 | 15:23 | 15:25 | -6 | 0.15 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.4 | 13 | 1 | 0 | 1 | L edge no cells | 1 |  | BT | 1 | 3 | 1 | 97.26 | 389.901 | 0.594 | 0.663 | 1.1162 | 70.7 | 0 | L edge no cells | 1 |  | 13 | 231.7328 | x
20180809165902 | q | FL_2 | 1 |  | TL WD | RG | 2018-08-09 | 16:59 | 17:01 | -6 | 0.05 | 14.1 | GPS-VTG | Left | 1 | 1 | 15.4 | 1 | 1 | 0 | 0 | both edges missing cells | 1 |  | BT | 1 | 3 | 1 | 51.717 | 192.8835 | 0.614 | 0.472 | 0.76873 | 73 | 0 | both edges missing cells | 1 |  | 12 | 118.4567 | x
20180809170107 | q | FL_2 | 2 |  | TL WD | RG | 2018-08-09 | 17:01 | 17:03 | -6 | 0.05 | 14.1 | GPS-VTG | Right | 1 | 1 | 15.3 | 1 | 1 | 0 | 1 | L edge missing all cells | 1 |  | BT | 1 | 2 | 1 | 52.943 | 190.7115 | 0.588 | 0.472 | 0.80272 | 73.5 | 0 | L edge missing all cells | 1 |  | 12 | 112.1783 | x
20180809170806 | q | FL_3 | 1 |  | TL WD | RG | 2018-08-09 | 17:08 | 17:10 | -6 | 0.05 | 14.1 | GPS-VTG | Left | 1 | 1 | 15.2 | 1 | 1 | 1 | 0 | R edge missing cells | 1 |  | BT | 1 | 2 | 1 | 50.919 | 202.5535 | 0.621 | 0.43 | 0.69243 | 71.7 | 0 | R edge missing cells | 1 |  | 12 | 125.7756 | x
20180809171009 | q | FL_3 | 2 |  | TL WD | RG | 2018-08-09 | 17:10 | 17:12 | -6 | 0.05 | 14.1 | GPS-VTG | Right | 1 | 1 | 15.1 | 1 | 1 | 1 | 0 | R edge missing all cells | 1 |  | BT | 1 | 2 | 1 | 51.236 | 199.9392 | 0.517 | 0.511 | 0.98839 | 72 | 0 | R edge missing all cells | 1 |  | 12 | 103.3301 | x
20180809171552 | q | FL_4 | 1 |  | TL WD | RG | 2018-08-09 | 17:16 | 17:18 | -6 | 0.05 | 14.1 | BT | Left | 1 | 1 | 15 | 1 | 1 | 0 | 1 | L edge missing most cells | 1 |  | BT | 0 | 2 | 1 | 77.208 | 209.3189 | 0.531 | 0.545 | 1.0264 | 73 | 0 | L edge missing most cells | 1 |  | 9 | 111.1067 | x
20180809171824 | q | FL_4 | 2 |  | TL WD | RG | 2018-08-09 | 17:18 | 17:21 | -6 | 0.05 | 14.1 | BT | Right | 1 | 1 | 15 | 1 | 1 | 0 | 1 | L edge missing all cells | 1 |  | BT | 0 | 2 | 1 | 73.959 | 202.9707 | 0.58 | 0.584 | 1.0069 | 71.8 | 0 | L edge missing all cells | 1 |  | 9 | 117.7364 | x
20180809172542 | q | FL_5 | 1 |  | TL WD | RG | 2018-08-09 | 17:26 | 17:28 | -6 | 0.05 | 14.1 | GPS-VTG | Left | 1 | 1 | 14.9 | 1 | 1 | 1 | 1 |  | 1 |  | BT | 1 | 3 | 1 | 87.49 | 263.0082 | 0.572 | 0.63 | 1.1014 | 77.8 | 1 |  | 3 |  | 14 | 150.3972 | x
20180809172809 | q | FL_5 | 2 |  | TL WD | RG | 2018-08-09 | 17:28 | 17:31 | -6 | 0.05 | 14.1 | GPS-VTG | Right | 1 | 1 | 14.8 | 1 | 1 | 1 | 1 |  | 1 |  | BT | 0 | 2 | 1 | 86.222 | 257.7221 | 0.579 | 0.648 | 1.1192 | 77.9 | 1 | veloc not perfect; track ref invalid | 1 |  | 10 | 149.3316 | x
20180809173728 | q | FL_6 | 1 |  | TL WD | RG | 2018-08-09 | 17:37 | 17:40 | -6 | 0.05 | 14.1 | BT | Left | 1 | 1 | 14.8 | 1 | 1 | 1 | 1 |  | 1 |  | BT | 0 | 3 | 1 | 121.607 | 258.7657 | 0.599 | 0.909 | 1.5175 | 75.7 | 1 | track ref invalid | 2 |  | 11 | 154.3435 | x
20180809173948 | q | FL_6 | 2 |  | TL WD | RG | 2018-08-09 | 17:40 | 17:43 | -6 | 0.05 | 14.1 | BT | Right | 1 | 1 | 14.7 | 1 | 1 | 1 | 1 |  | 1 |  | BT | 1 | 2 | 1 | 122.189 | 262.8796 | 0.594 | 0.701 | 1.1801 | 76.4 | 1 | veloc not perffect | 2 |  | 13 | 175.4965 | x
20180809174727 | q | FL_7 | 1 |  | TL WD | RG | 2018-08-09 | 17:47 | 17:50 | -6 | 0.05 | 14.1 | BT | Left | 1 | 1 | 14.7 | 1 | 1 | 0 | 1 | L edge hardly any cells | 1 |  | BT | 1 | 2 | 1 | 116.259 | 261.4199 | 0.579 | 0.713 | 1.2314 | 75.7 | 0 | changed track ref to VTG to avoid invalids |  |  | 12 | 159.6859 | x
20180809175015 | q | FL_7 | 2 |  | TL WD | RG | 2018-08-09 | 17:50 | 17:33 | -6 | 0.05 | 14.1 |  | Right | 1 | 0 | 14.6 | 1 | 1 | 1 | 1 | R edge 7m drift | 1 |  | BT | 0 | 2 | 1 | 111.807 | 267.878 | 0.565 | 0.679 | 1.2018 | 75.9 | 0 | HDOP too high, \L edge drift | 2 |  | 9 | 151.288 | x